# Incidental PCB Disturbance and Emergency Response Procedures

# Purpose

In the event that a PCB-containing material or presumed PCB-containing material is disturbed, specific procedures have been established to minimize potential exposure and to limit environmental impact.

# Definitions

Incidental PCB Disturbance – an unintentional action or event in which it is feasible that PCB-containing materials have been damaged or disturbed.  Examples could include building materials being cut, torn, sanded, sawed, drilled, pulverized, or improperly removed.

# PCB Emergency – an uncontrolled disturbance of building materials resulting from a building system failure, structural damage, fire, water damage, or other large-scale disturbance.

Procedures

Although incidental PCB disturbances and emergencies can vary widely in scope, scale and severity, immediate response actions are alike.

1.	Do not attempt to clean any dust or debris.  If debris exists on clothing, do not brush it off and await further EHS instruction.

2.	Vacate the immediate area or room.  Leave behind any tools, equipment, or personal items.

3.	Restrict access to the room or area with the use of barrier tape or signage.

4.	Call EHS at (814) 865-6391.

If an event occurs after hours or on weekends at University Park Campus, call OPP’s Work Control at (814) 865-4731.

If an event occurs after hours or on weekends at a Commonwealth Campus, contact the Campus’ Facilities Manager.

EHS Response

Based on the specific details of an incidental PCB disturbance or emergency, EHS will design the appropriate response actions to protect human safety and remediate any potential PCB contamination.  This may include the arrangement of the cleanup and/or removal of material by licensed abatement workers, oversight by 3rd party consulting firms, and the shutdown / isolation of HVAC systems.  Furthermore, EHS will lead the incident investigation in order to identify causal factors and institute preventative actions.